## Sheet1
| DIN |  |  | ASTM |  |  | US EPA |  |  |  |  | ISO |  | EN
Standard Name | DIN 38407-42:2011 | DIN 38414-14:2011 | DIN 38409-59:2022-10 | ASTM D7979-19 | ASTM D7968-17a | ASTM D8421-21 | US EPA 537.1 | US EPA 533 | US EPA 8327 | US EPA 1633 3. Draft | US EPA 1621 Draft | ISO 25101:2009 | ISO 21675:2019 | Draft prEN 17892
Title of Standard | German standard methods for the examination of water, waste water and sludge | German standard methods for the examination of water, waste water and sludge - Sludge and sediments (group S) - Part 14: Determination of selected polyfluorinated compounds (PFC) in sludge, compost and soil | German standard methods for the examination of water, waste water and sludge - Parameters characterizing effects and substances (group H) - Part 59: Determination of adsorbable organically bound fluorine, chlorine, bromine and iodine (AOF, AOCl, AOBr, AOI) using combustion and subsequent ion chromatographic measurement | Standard Test Method for Determination of Per- and Polyfluoroalkyl Substances in Water, Sludge, Influent, Effluent, and Wastewater by Liquid Chromatography Tandem Mass Spectrometry (LC/MS/MS) | Standard Test Method for Determination of Polyfluorinated Compounds in Soil by Liquid Chromatography Tandem Mass Spectrometry (LC/MS/MS) | Standard Test Method for Determination of Per- and Polyfluoroalkyl Substances (PFAS) in Aqueous Matrices by Co-solvation followed by Liquid Chromatography Tandem Mass Spectrometry (LC/ MS/MS) | Determination of Selected Per- and Polyfluorinated Alkyl Substances in Drinking Water by Solid Phase Extraction and Liquid Chromatography/Tandem Mass Spectrometry (LC/MS/MS) | Determination of Per- and Polyfluoroalkyl Substances in Drinking Water by Isotope Dilution Anion Exchange Solid Phase Extraction and Liquid Chromatography/Tandem Mass Spectrometry | Per-and Polyfluoroalkyl Substances (PFAS) Using External Standard Calibration and Multiple Reaction Monitoring (MRM) Liquid Chromatography/Tandem Mass Spectrometry (LC/MS/MS) | Analysis of Per- and Polyfluoroalkyl Substances (PFAS) in Aqueous, Solid, Biosolids, and Tissue Samples by LC-MS/MS | Screening Method for the Determination of Adsorbable Organic Fluorine (AOF) in Aqueous Matrices by Combustion Ion Chromatography (CIC) | Water quality — Determination of perfluorooctanesulfonate (PFOS) and perfluorooctanoate (PFOA) — Method for unfiltered samples using solid phase extraction and liquid chromatography/mass spectrometry. | Water quality — Determination of perfluoroalkyl and polyfluoroalkyl substances (PFAS) in water — Method using solid phase extraction and liquid chromatography-tandem mass spectrometry (LC-MS/MS) | Water quality - Determination of the sum of perfluorinated substances (Sum of PFAS) in drinking water - Method using liquid chromatography/mass spectrometry (LC/MS)
Year published (revised) | 2011 | 2011 | 2022 | 2017 (2019) | 2014 (2017) | 2021 | 2018 (Ver. 2.0 2020) | 2019 | 2019 | 2021 (3. draft 2022) | 2022 | 2009 | 2019 | 2022
Sample Matrix | Drinking water Groundwater Surface water Treated effluent water | Sludge Compost Soil | Water Wastewater Sludge | Water Sludge Influent Effluent Wastewater | Soil | Water Sludge Influent Effluent | Drinking water | Drinking water | Non-potable water Surface water Groundwater Wastewater | Water Soil Sediment Biosolids Tissue | Water | Non-filtrated drinking water Ground water Surface water, frech an sea | Non-filtrated drinking water Ground water Surface water, frech an sea Waste water, <2 g/L SPM | Non-filtrated drinking water containing less than 0,5 g/l solid particulate material (SPM)
Sample Preparation | WAX (weak anion exchange) Solid Phase Extraction | MeOH extraction Ultrasound 60 min |  | Direct Injection | Direct Injection | Direct Injection 1:1 MeOH | S-DVB Solid Phase Extraction | WAX (weak anion exchange) Solid Phase Extraction | Direct Injection | Water samples: SPE Soil samples: Basic MeOH + SPE |  | SPE (WAX, HLB, C18. Refer to Table A.1 in Annex A) | WAX (weak anion exchange) Solid Phase Extraction | Part A: Direct Injection Part B: WAX (weak anion exchange) Solid Phase Extraction
Detection Technique | LC-MS/MS | LC-MS/MS | CIC | LC-MS/MS | LC-MS/MS | LC-MS/MS | LC-MS/MS | LC-MS/MS | LC-MS/MS | LC-MS/MS | CIC | LC-MS/MS | LC-MS/MS | LC-MS/MS
Number of compounds | 10 | 10 |  | 21+10 | 21+10 | 44 | 18 | 25 | 24 | 40 |  | 2 | 30 | 29
Analyte List | PFOS | PFOS |  | PFOS | PFOS | PFTreA | PFOS | PFOS | PFOS | PFBA |  | PFOS | PFOS | PFBA
| PFOA | PFOA |  | PFOA | PFOA | PFTriA | PFOA | PFOA | PFOA | PFPeA |  | PFOA | PFOA | PFPeA
| PFBS | PFBS |  | PFBS | PFBS | PFDoA | N-EtFOSAA | PFBS | N-EtFOSAA | PFHxA |  |  | N-EtFOSAA | PFHxA
| PFDA | PFDA |  | PFDA | PFDA | PFUnA | N-MeFOSAA | PFDA | N-MeFOSAA | PFHpA |  |  | N-MeFOSAA | PFHpA
| PFHpA | PFHpA |  | PFDoA | PFDoA | PFDA | PFBS | PFDoA | PFBS | PFOA |  |  | PFBS | PFOA
| PFHxS | PFHxS |  | PFHpA | PFHpA | PFNA | PFDA | PFHpA | PFDA | PFNA |  |  | PFDA | PFNA
| PFHxA | PFHxA |  | PFHxS | PFHxS | PFOA | PFDoA | PFHxS | PFDoA | PFDA |  |  | PFDoDA | PFDA
| PFNA | PFNA |  | PFHxA | PFHxA | PFHpA | PFHpA | PFHxA | PFHpA | PFUnA |  |  | PFHpA | PFUnDA
| PFBA | PFBA |  | PFNA | PFNA | PFHxA | PFHxS | PFNA | PFHxS | PFDoA |  |  | PFHxS | PFDoDA
| PFPeA | PFPeA |  | PFTreA | PFTreA | PFPeA | PFHxA | PFUdA | PFHxA | PFTrDA |  |  | PFHxA | PFTrDA
|  |  |  | PFTriA | PFTriA | PFBA | PFNA | HFPO-DA | PFNA | PFTeDA |  |  | PFNA | PFBS
|  |  |  | PFUnA | PFUnA | PFDS | PFTA | PFBA | PFTeDA | PFBS |  |  | PFTeDA | PFPeS
|  |  |  | PFBA | PFBA | PFNS | PFTrDA | PFPeA | PFTrA | PFPeS |  |  | PFTrDA | PFHxS
|  |  |  | PFPeA | PFPeA (PFPA) | PFOS | PFUnA | PFHpS | PFUdA | PFHxS |  |  | PFUnDA | PFHpS
|  |  |  | FOUEA | FOUEA | PFHpS | HFPO-DA | PFPeS | PFBA | PFHpS |  |  | HFPO-DA | PFOS
|  |  |  | PFecHS | PFecHS | PFHxS | 9Cl-PF3ONS | 4:2 FTS | PFPeA | PFOS |  |  | PFBA | PFNS
|  |  |  | FHEA | FHEA | PFPeS | ADONA | 6:2 FTS | PFDS | PFNS |  |  | PFPeA | PFDS
|  |  |  | FOEA | FOEA | PFBS | 11Cl-PF3OUdS | 8:2 FTS | PFHpS | PFDS |  |  | PFDS | PFUnDS
|  |  |  | FDEA | FDEA | PFOSA |  | 9Cl-PF3ONS | PFPeS | PFDoS |  |  | PFHpS | PFDoDS
|  |  |  | FHpPA | FHpPA | 8:2 FTS |  | ADONA | FOSA | 4:2FTS |  |  | FOSA | PFTrDS
|  |  |  | FHUEA | FHUEA | 6:2 FTS |  | PFEESA | 4:2 FTS | 6:2FTS |  |  | 6:2 FTSA | 4:2 FTSA
|  |  |  | PFPeS | PFPeS (PFPS) | 4:2 FTS |  | NFDHA | 6:2 FTS | 8:2FTS |  |  | 8:2 FTSA | 6:2 FTSA
|  |  |  | PFHpS | PFHpS | NEtFOSAA |  | PFMPA | 8:2 FTS | PFOSA |  |  | 8:2 FTUCA | 8:2 FTSA
|  |  |  | PFNS | PFNS | NMeFOSAA |  | PFMBA | PFNS | NMeFOSA |  |  | 8:2 diPAP | FOSA
|  |  |  | PFDS | PFDS | PFDoS |  | 11Cl-PF3OUdS |  | NEtFOSA |  |  | N-MeFOSA | N-EtFOSAA
|  |  |  | FOSA | FOSA | NMeFOSA |  |  |  | NMeFOSAA |  |  | N-EtFOSA | HFPO-DA
|  |  |  | NMeFOSAA | NMeFOSAA | NEIFOSA |  |  |  | NEtFOSAA |  |  | PFHxDA | DONA
|  |  |  | NEtFOSAA | NEtFOSAA | NMeFOSE |  |  |  | NMeFOSE |  |  | PFOcDA | PFMPA (PF4OPeA)
|  |  |  | 4:2 FTSA | 4:2 FTSA | NEIFOSE |  |  |  | NEtFOSE |  |  | 9Cl-PF3ONS | 9Cl-PF3ONS
|  |  |  | 6:2 FTSA | 6:2 FTSA | HFPO-DA |  |  |  | HFPO-DA |  |  | DONA
|  |  |  | 8:2 FTSA | 8:2 FTSA | ADONA |  |  |  | ADONA
[6 empty] | 9CI-PF30NS |  |  |  | PFMPA
[6 empty] | 11CI-PF30UdS |  |  |  | PFMBA
[6 empty] | PFPrA |  |  |  | NFDHA
[6 empty] | NFDHA |  |  |  | 9Cl-PF3ONS
[6 empty] | PFEESA |  |  |  | 11Cl-PF3OUdS
[6 empty] | PFMPA |  |  |  | PFEESA
[6 empty] | PFMBA |  |  |  | 3:3FTCA
[6 empty] | 3:3 FTCA |  |  |  | 5:3FTCA
[6 empty] | 5:3 FTCA |  |  |  | 7:3FTCA
7:3 FTCA
FHUEA
FOUEA
HQ-115